## SUMMARY
www.Iconestimating.com
2392442502
CSI DIV. | DESCRIPTION | TOTAL TRADE COST | REMARKS
DIV.01 | GENERAL CONDITIONS | 10000
DIV.26 | ELECTRICAL | 43935.68
| SUBTOTAL | 53935.68
| OVERHEAD & PROFIT - 25% | 13483.92
| TOTAL BID | 67419.6
EXCLUSIONS
ALL ITEMS NOT MENTIONED ABOVE ARE EXCLUDED

## Detailed Estimate
www.Iconestimating.com
2392442502
SR # | REFERENCE SHEET | DETAIL SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV. 01 | GENERAL REQUIREMENTS | [10 empty] | 10000
1 |  |  |  | PERMITS & SITE SUPERVISION FEE | 1 | 0% | 1 | LS |  |  |  |  | 5000 | 5000
2 |  |  |  | Allowances | 1 | 0% | 1 | LS |  |  |  |  | 3500 | 3500
3 |  |  |  | Mobilization | 1 | 0% | 1 | LS |  |  |  |  | 1500 | 1500
|  |  | DIV. 26 | ELECTRICAL | [10 empty] | 43935.68
POWER FIXTURE
4 | E2.0 | E2.0,E1.0 |  | Duplex Receptacle | 60 | 0% | 60 | EA | 18.2 | 1092 | 46.8 | 2808 | 65 | 3900
5 | E2.0 | E2.0,E1.0 |  | Duplex Receptacle - Ground Fault Interrupter | 26 | 0% | 26 | EA | 33.6 | 873.6 | 86.4 | 2246.4 | 120 | 3120
6 | E2.0 | E2.0,E1.0 |  | Duplex Receptacle - Ground Fault Interrupter (Weatherproof) | 14 | 0% | 14 | EA | 39.2 | 548.8 | 100.8 | 1411.2 | 140 | 1960
7 | E2.0 | E2.0,E1.0 |  | Triplex Receptacle - Ground Fault Interrupter, Voltages: 240V | 1 | 0% | 1 | EA | 50.4 | 50.4 | 129.6 | 129.6 | 180 | 180
8 | E2.0 | E2.0,E1.0 |  | Triplex Receptacle - Voltages: 240V | 2 | 0% | 2 | EA | 44.8 | 89.6 | 115.2 | 230.4 | 160 | 320
9 | E2.0 | E2.0,E1.0 |  | USB Charger Receptacle | 11 | 0% | 11 | EA | 28 | 308 | 72 | 792 | 100 | 1100
10 | E2.0 | E2.0,E1.0 |  | Cat 5 Jada Jack | 12 | 0% | 12 | EA | 7.04 | 84.48 | 22 | 264 | 29.04 | 348.48
10 | E2.0 | E2.0,E1.0 |  | Junction Box | 17 | 0% | 17 | EA | 56 | 952 | 144 | 2448 | 200 | 3400
11 | E2.0 | E2.0,E1.0 |  | Smoke Detector | 5 | 0% | 5 | EA | 42 | 210 | 108 | 540 | 150 | 750
12 | E2.0 | E2.0,E1.0 |  | Vacancy Sensor | 7 | 0% | 7 | EA | 16 | 112 | 50 | 350 | 66 | 462
13 | E2.0 | E2.0,E1.0 |  | Carbon Monoxide Alarm | 1 | 0% | 1 | EA | 84 | 84 | 116 | 116 | 200 | 200
LIGHTING FIXTRE
14 | E2.0 | E2.0,E1.0 |  | (1'-0"x4'-0") LED Light Strip | 7 | 0% | 7 | EA | 22.08 | 154.56 | 69 | 483 | 91.08 | 637.56
15 | E2.0 | E2.0,E1.0 |  | (2'-0"x4'-0") LED Light Strip | 2 | 0% | 2 | EA | 28.16 | 56.32 | 88 | 176 | 116.16 | 232.32
16 | E2.0 | E2.0,E1.0 |  | Ceiling Mounted Pendant Light Fixture | 6 | 0% | 6 | EA | 144 | 864 | 450 | 2700 | 594 | 3564
17 | E2.0 | E2.0,E1.0 |  | High efficacy Recessed Lighting Fixture | 71 | 0% | 71 | EA | 38.4 | 2726.4 | 120 | 8520 | 158.4 | 11246.4
18 | E2.0 | E2.0,E1.0 |  | High efficacy Wall Mounted Lighting Fixture | 11 | 0% | 11 | EA | 38.4 | 422.4 | 120 | 1320 | 158.4 | 1742.4
SWITCHES
19 | E2.0 | E2.0,E1.0 |  | Single Pole Switch | 10 | 0% | 10 | EA | 7.04 | 70.4 | 22 | 220 | 29.04 | 290.4
20 | E2.0 | E2.0,E1.0 |  | Three Pole Switch | 2 | 0% | 2 | EA | 11.2 | 22.4 | 35 | 70 | 46.2 | 92.4
21 | E2.0 | E2.0,E1.0 |  | Dimmer Switch | 52 | 0% | 52 | EA | 7.68 | 399.36 | 24 | 1248 | 31.68 | 1647.36
22 | E2.0 | E2.0,E1.0 |  | Motor Rated Switch, Ampere: 15A, Phase: 1PH | 8 | 0% | 8 | EA | 8 | 64 | 25 | 200 | 33 | 264
ELECTRICAL EQUIPMENTS
23 | E2.0 | E2.0,E1.0 |  | Electrical Meter - Ampere: 400A, Voltages: 120/240V w/ 42KAIC Circuit Breaker | 1 | 0% | 1 | EA | 461.12 | 461.12 | 1441 | 1441 | 1902.12 | 1902.12
CIRCUIT BREAKER
24 | E1.1 | E1.1 |  | Circuit Breaker - Ampere: 100A, Phase: 2PH | 2 | 0% | 2 | EA | 77.44 | 154.88 | 242 | 484 | 319.44 | 638.88
25 | E1.1 | E1.1 |  | Fused Disconnect, Ampere: 30A, Phase: 2PH | 1 | 0% | 1 | EA | 54.4 | 54.4 | 170 | 170 | 224.4 | 224.4
26 | E1.1 | E1.1 |  | Fused Disconnect, Ampere: 40A, Phase: 2PH | 1 | 0% | 1 | EA | 64 | 64 | 200 | 200 | 264 | 264
27 | E1.1 | E1.1 |  | UGPS - Ampere: 400A | 1 | 0% | 1 | EA | 328.96 | 328.96 | 1028 | 1028 | 1356.96 | 1356.96
ELECTRICAL PANEL
28 | E1.1 | E1.1 |  | Panel "P" - Voltages: 120/240V, Watts: 3W, Phase: 1PH, Ampere: 400A | 1 | 0% | 1 | EA | 640 | 640 | 2000 | 2000 | 2640 | 2640
29 | E1.1 | E1.1 |  | Panel "P1" - Voltages: 120/240V, Watts: 3W, Phase: 1PH, Ampere: 100A | 1 | 0% | 1 | EA | 176 | 176 | 550 | 550 | 726 | 726
30 | E1.1 | E1.1 |  | Panel "POOL" - Voltages: 120/240V, Watts: 3W, Phase: 1PH, Ampere: 100A | 1 | 0% | 1 | EA | 176 | 176 | 550 | 550 | 726 | 726
SUB TOTAL | [13 empty] | 53935.68 | 53935.68
OVERHEAD & PROFIT (25%) | [12 empty] | 25% | 13483.92 | 13483.92
TOTAL BID | [13 empty] | 67419.6 | 67419.6