## SUMMARY
www.Iconestimating.com
2392442502
CSI DIV. | DESCRIPTION | TOTAL TRADE COST | REMARKS
DIV.01 | GENERAL CONDITIONS | 79472.6
DIV.22 | PLUMBING | 48166.1014
DIV.23 | HEAT VENTILATION & AIR CONDITIONING | 26143.832
DIV.26 | ELECTRICAL | 43935.68
| SUBTOTAL | 197718.2134
| OVERHEAD & PROFIT - 25% | 49429.5534
| TOTAL BID | 247147.7668
EXCLUSIONS
ALL ITEMS NOT MENTIONED ABOVE ARE EXCLUDED

## Detailed Estimate
www.Iconestimating.com
2392442502
SR # | REFERENCE SHEET | DETAIL SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV. 01 | GENERAL REQUIREMENTS | [10 empty] | 79472.6
1 |  |  |  | PERMITS, SITE SUPERVISION, FINAL CLEANUP & DUMPSTER | 1 | 0% | 1 | LS |  |  |  |  | 31789.04 | 31789.04
2 |  |  |  | Allowances | 1 | 0% | 1 | LS |  |  |  |  | 15894.52 | 15894.52
3 |  |  |  | Mobilization | 1 | 0% | 1 | LS |  |  |  |  | 31789.04 | 31789.04
|  |  | DIV. 22 | PLUMBING | [10 empty] | 48166.1014
PLUMBING PIPES
|  |  |  | WASTE PIPE |  | SCH 40 ABS OR PVC
4 | P-3.0 | P-3.0 |  | 1 1/2" Dia Vent Pipe | 46.08 | 10% | 50.688 | LF | 3.7736 | 191.2762 | 2.12 | 107.4586 | 5.8936 | 298.7348
5 | P-3.0 | P-3.0 |  | 2" Dia Vent Pipe | 29.13 | 10% | 32.043 | LF | 6.23 | 199.6279 | 3.5 | 112.1505 | 9.73 | 311.7784
6 | P-3.0 | P-3.0 |  | 2" Dia Sanitary Sewer Pipe | 68.87 | 10% | 75.757 | LF | 6.23 | 471.9661 | 3.5 | 265.1495 | 9.73 | 737.1156
7 | P-3.0 | P-3.0 |  | 3" Dia Sanitary Sewer Pipe | 158.77 | 10% | 174.647 | LF | 10.057 | 1756.4249 | 5.65 | 986.7556 | 15.707 | 2743.1804
8 | P-3.0 | P-3.0 |  | 1 1/2" Dia Vent Pipe Up Above Ceiling | 96 | 10% | 105.6 | LF | 3.7736 | 398.4922 | 2.12 | 223.872 | 5.8936 | 622.3642
9 | P-3.0 | P-3.0 |  | 2" Dia Vent Pipe Vertical Through Roof | 84 | 10% | 92.4 | LF | 6.23 | 575.652 | 3.5 | 323.4 | 9.73 | 899.052
|  |  |  | WATER PIPES |  | AQUA PEX TUBING
10 | P-2.0 | P-2.0 |  | 1" Dia Cold Water Pipe | 42.48 | 10% | 46.728 | LF | 4.05 | 189.2484 | 2.5 | 116.82 | 6.55 | 306.0684
11 | P-2.0 | P-2.0 |  | 1 1/2" Dia Cold Water Pipe | 5.72 | 10% | 6.292 | LF | 8.9424 | 56.2656 | 5.52 | 34.7318 | 14.4624 | 90.9974
12 | P-2.0 | P-2.0 |  | 1 1/4" Dia Cold Water Pipe | 153.01 | 10% | 168.311 | LF | 7.3386 | 1235.1671 | 4.53 | 762.4488 | 11.8686 | 1997.6159
13 | P-2.0 | P-2.0 |  | 1/2" Dia Cold Water Pipe | 13.82 | 10% | 15.202 | LF | 2.8998 | 44.0828 | 1.79 | 27.2116 | 4.6898 | 71.2943
14 | P-2.0 | P-2.0 |  | 3/4" Dia Cold Water Pipe | 111.54 | 10% | 122.694 | LF | 3.2076 | 393.5533 | 1.98 | 242.9341 | 5.1876 | 636.4874
15 | P-2.0 | P-2.0 |  | 1" Dia Hot Water Pipe | 15.65 | 10% | 17.215 | LF | 4.05 | 69.7208 | 2.5 | 43.0375 | 6.55 | 112.7583
16 | P-2.0 | P-2.0 |  | 1 1/4" Dia Hot Water Pipe | 121.47 | 10% | 133.617 | LF | 7.3386 | 980.5617 | 4.53 | 605.285 | 11.8686 | 1585.8467
17 | P-2.0 | P-2.0 |  | 1/2" Dia Hot Water Pipe | 32.45 | 10% | 35.695 | LF | 2.8998 | 103.5084 | 1.79 | 63.8941 | 4.6898 | 167.4024
18 | P-2.0 | P-2.0 |  | 1/2" Dia Hot Water Return | 122.21 | 10% | 134.431 | LF | 2.8998 | 389.823 | 1.79 | 240.6315 | 4.6898 | 630.4545
19 | P-2.0 | P-2.0 |  | 3/4" Dia Hot Water Pipe | 96.88 | 10% | 106.568 | LF | 3.2076 | 341.8275 | 1.98 | 211.0046 | 5.1876 | 552.8322
|  |  |  | GAS PIPE |  | SCH. 40 BLACK STEEL
20 | P-2.0 | P-2.0 |  | 1" Dia Gas Pipe | 10.17 | 10% | 11.187 | LF | 3.738 | 41.817 | 2.1 | 23.4927 | 5.838 | 65.3097
21 | P-2.0 | P-2.0 |  | 1 1/2" Dia Gas Pipe | 11.43 | 10% | 12.573 | LF | 4.45 | 55.9499 | 2.5 | 31.4325 | 6.95 | 87.3824
22 | P-2.0 | P-2.0 |  | 1/2" Dia Gas Pipe | 58.59 | 10% | 64.449 | LF | 3.1684 | 204.2002 | 1.78 | 114.7192 | 4.9484 | 318.9194
23 | P-2.0 | P-2.0 |  | 2" Dia Gas Pipe | 85.72 | 10% | 94.292 | LF | 5.0908 | 480.0217 | 2.86 | 269.6751 | 7.9508 | 749.6968
24 | P-2.0 | P-2.0 |  | 2 1/2" Dia Gas Pipe | 50.56 | 10% | 55.616 | LF | 5.7672 | 320.7486 | 3.24 | 180.1958 | 9.0072 | 500.9444
25 | P-2.0 | P-2.0 |  | 3/4" Dia Gas Pipe | 21.18 | 10% | 23.298 | LF | 3.56 | 82.9409 | 2 | 46.596 | 5.56 | 129.5369
|  |  |  | RISER |  | SCH. 40 BLACK STEEL
26 | P-2.1 | P-2.1 |  | 1 1/4" Dia Gas Pipe | 10.23 | 10% | 11.253 | LF | 3.7736 | 42.4643 | 2.12 | 23.8564 | 5.8936 | 66.3207
27 | P-2.1 | P-2.1 |  | 3/4" Dia Gas Pipe | 12.61 | 10% | 13.871 | LF | 3.56 | 49.3808 | 2 | 27.742 | 5.56 | 77.1228
28 | P-2.1 | P-2.1 |  | 1/2" Dia Gas Pipe | 8.25 | 10% | 9.075 | LF | 3.1684 | 28.7532 | 1.78 | 16.1535 | 4.9484 | 44.9067
CONNECTIONS
WATER
29 | P-2.0 | P-2.0 |  | 1" Dia 90 Degree Elbow | 2 | 0% | 2 | EA | 13.65 | 27.3 | 21 | 42 | 34.65 | 69.3
30 | P-2.0 | P-2.0 |  | 3/4" Dia 90 Degree Elbow | 8 | 0% | 8 | EA | 11.05 | 88.4 | 17 | 136 | 28.05 | 224.4
31 | P-2.0 | P-2.0 |  | 1 1/2" Dia 90 Degree Elbow | 2 | 0% | 2 | EA | 16.25 | 32.5 | 25 | 50 | 41.25 | 82.5
32 | P-2.0 | P-2.0 |  | 1 1/4" Dia 90 Degree Elbow | 8 | 0% | 8 | EA | 14.95 | 119.6 | 23 | 184 | 37.95 | 303.6
33 | P-2.0 | P-2.0 |  | 1/2" Dia 90 Degree Elbow | 7 | 0% | 7 | EA | 9.1 | 63.7 | 14 | 98 | 23.1 | 161.7
34 | P-2.0 | P-2.0 |  | 1" Dia To 3/4" Dia 90 Degree Elbow | 1 | 0% | 1 | EA | 16.25 | 16.25 | 25 | 25 | 41.25 | 41.25
35 | P-2.0 | P-2.0 |  | 1" Dia To 1/2" Dia Transition Tee | 1 | 0% | 1 | EA | 16.25 | 16.25 | 25 | 25 | 41.25 | 41.25
36 | P-2.0 | P-2.0 |  | 1" Dia To 1/4" Dia Transition Tee | 1 | 0% | 1 | EA | 16.25 | 16.25 | 25 | 25 | 41.25 | 41.25
37 | P-2.0 | P-2.0 |  | 1/2" Dia To 3/4" Dia Transition Tee | 3 | 0% | 3 | EA | 14.3 | 42.9 | 22 | 66 | 36.3 | 108.9
38 | P-2.0 | P-2.0 |  | 1 1/4" Dia To 3/4" Dia Transition Tee | 4 | 0% | 4 | EA | 19.5 | 78 | 30 | 120 | 49.5 | 198
39 | P-2.0 | P-2.0 |  | 1 1/4" Dia To 1" Dia Transition Tee | 2 | 0% | 2 | EA | 18.2 | 36.4 | 28 | 56 | 46.2 | 92.4
40 | P-2.0 | P-2.0 |  | 1 1/4" Dia To 1 1/2" Dia Transition Tee | 2 | 0% | 2 | EA | 18.2 | 36.4 | 28 | 56 | 46.2 | 92.4
41 | P-2.0 | P-2.0 |  | 1" Dia To 3/4" Dia Transition Tee | 2 | 0% | 2 | EA | 18.2 | 36.4 | 28 | 56 | 46.2 | 92.4
42 | P-2.0 | P-2.0 |  | 1" Dia To 3/4"&1/2" Dia Transition Tee | 1 | 0% | 1 | EA | 16.25 | 16.25 | 25 | 25 | 41.25 | 41.25
43 | P-2.0 | P-2.0 |  | 1" Dia To 3/4"&1 1/4" Dia Transition Tee | 1 | 0% | 1 | EA | 16.25 | 16.25 | 25 | 25 | 41.25 | 41.25
44 | P-2.0 | P-2.0 |  | 1 1/4" Dia Tee | 3 | 0% | 3 | EA | 18.2 | 54.6 | 28 | 84 | 46.2 | 138.6
45 | P-2.0 | P-2.0 |  | 3/4" Dia Tee | 11 | 0% | 11 | EA | 16.25 | 178.75 | 25 | 275 | 41.25 | 453.75
WASTE
46 | P-3.0 | P-3.0 |  | 1 1/2" Dia 45 Degree Elbow | 6 | 0% | 6 | EA | 13 | 78 | 20 | 120 | 33 | 198
47 | P-3.0 | P-3.0 |  | 1 1/2" Dia 90 Degree Elbow | 1 | 0% | 1 | EA | 13 | 13 | 20 | 20 | 33 | 33
48 | P-3.0 | P-3.0 |  | 2" Dia 45 Degree Elbow | 8 | 0% | 8 | EA | 19.5 | 156 | 30 | 240 | 49.5 | 396
49 | P-3.0 | P-3.0 |  | 2" Dia 90 Degree Elbow | 2 | 0% | 2 | EA | 19.5 | 39 | 30 | 60 | 49.5 | 99
50 | P-3.0 | P-3.0 |  | 3" Dia 45 Degree Elbow | 10 | 0% | 10 | EA | 22.75 | 227.5 | 35 | 350 | 57.75 | 577.5
51 | P-3.0 | P-3.0 |  | 2" Dia Wye | 1 | 0% | 1 | EA | 20.8 | 20.8 | 32 | 32 | 52.8 | 52.8
52 | P-3.0 | P-3.0 |  | 3" Dia Wye | 7 | 0% | 7 | EA | 24.7 | 172.9 | 38 | 266 | 62.7 | 438.9
53 | P-3.0 | P-3.0 |  | 3" Dia To 2" Dia Transition Wye | 9 | 0% | 9 | EA | 24.7 | 222.3 | 38 | 342 | 62.7 | 564.3
GAS
54 | P-2.0 | P-2.0 |  | 1" Dia 90 Degree Elbow | 1 | 0% | 1 | EA | 22.1 | 22.1 | 34 | 34 | 56.1 | 56.1
55 | P-2.0 | P-2.0 |  | 1 1/4" Dia 90 Degree Elbow | 1 | 0% | 1 | EA | 24.7 | 24.7 | 38 | 38 | 62.7 | 62.7
56 | P-2.0 | P-2.0 |  | 1/2" Dia 90 Degree Elbow | 3 | 0% | 3 | EA | 18.2 | 54.6 | 28 | 84 | 46.2 | 138.6
57 | P-2.0 | P-2.0 |  | 2" Dia 90 Degree Elbow | 3 | 0% | 3 | EA | 29.25 | 87.75 | 45 | 135 | 74.25 | 222.75
58 | P-2.0 | P-2.0 |  | 3/4" Dia 90 Degree Elbow | 1 | 0% | 1 | EA | 19.5 | 19.5 | 30 | 30 | 49.5 | 49.5
59 | P-2.0 | P-2.0 |  | 3/4" Dia To 1/2" Dia 90 Degree Elbow | 1 | 0% | 1 | EA | 19.5 | 19.5 | 30 | 30 | 49.5 | 49.5
60 | P-2.0 | P-2.0 |  | 1" Dia To 1 1/4" Dia Transition Tee | 1 | 0% | 1 | EA | 27.3 | 27.3 | 42 | 42 | 69.3 | 69.3
61 | P-2.0 | P-2.0 |  | 1/2" Dia To 3/4" Dia Transition Tee | 2 | 0% | 2 | EA | 21.45 | 42.9 | 33 | 66 | 54.45 | 108.9
62 | P-2.0 | P-2.0 |  | 2 1/2" Dia To 3/4" Dia Transition Tee | 4 | 0% | 4 | EA | 35.75 | 143 | 55 | 220 | 90.75 | 363
63 | P-2.0 | P-2.0 |  | 2" Dia To 1" & 1 1/2" Dia Transition Tee | 1 | 0% | 1 | EA | 32.5 | 32.5 | 50 | 50 | 82.5 | 82.5
64 | P-2.0 | P-2.0 |  | 2 1/2" Dia To 1 1/4" Dia Transition Tee | 1 | 0% | 1 | EA | 35.75 | 35.75 | 55 | 55 | 90.75 | 90.75
65 | P-2.0 | P-2.0 |  | 2 1/2" Dia To 3/4" & 2" Dia Transition Tee | 1 | 0% | 1 | EA | 35.75 | 35.75 | 55 | 55 | 90.75 | 90.75
FIXTUERS
66 | P-3.0 | P-3.0 |  | Shower Heads | 1 | 0% | 1 | EA | 10.8 | 10.8 | 45 | 45 | 55.8 | 55.8
67 | P-3.0 | P-3.0 |  | Kitchen Sink w/ Faucet | 2 | 0% | 2 | EA | 144 | 288 | 600 | 1200 | 744 | 1488
68 | P-3.0 | P-3.0 |  | 4" Floor Cleanout | 1 | 0% | 1 | EA | 19.2 | 19.2 | 80 | 80 | 99.2 | 99.2
69 | P-3.0 | P-3.0 |  | 3" Floor Cleanout | 2 | 0% | 2 | EA | 16.8 | 33.6 | 70 | 140 | 86.8 | 173.6
70 | P-3.0 | P-3.0 |  | Hose Bibb (Each Additional) | 3 | 0% | 3 | EA | 4.8 | 14.4 | 20 | 60 | 24.8 | 74.4
71 | P-3.0 | P-3.0 |  | Shower Fixture Control Valve | 3 | 0% | 3 | EA | 23.8 | 71.4 | 70 | 210 | 93.8 | 281.4
72 | P-3.0 | P-3.0 |  | (5'-10"X3'-0") Curb less Shower Enclosure w/ Shower Heads | 2 | 0% | 2 | EA | 392.4756 | 784.9512 | 1154.34 | 2308.68 | 1546.8156 | 3093.6312
73 | P-3.0 | P-3.0 |  | (10'X6') Curb less Shower Enclosure w/ Shower Heads | 1 | 0% | 1 | EA | 1346.4 | 1346.4 | 3960 | 3960 | 5306.4 | 5306.4
74 | P-3.0 | P-3.0 |  | Water Closet Tank Type 1.28 Gallon | 4 | 0% | 4 | EA | 311.1 | 1244.4 | 915 | 3660 | 1226.1 | 4904.4
75 | P-3.0 | P-3.0 |  | (3'-3"x6'-6 1/2") Free Standing Bathtub | 1 | 0% | 1 | EA | 1472.4125 | 1472.4125 | 4330.625 | 4330.625 | 5803.0375 | 5803.0375
76 | P-3.0 | P-3.0 |  | Under Mount Lavatory w/ 1.2 GPM Faucet | 6 | 0% | 6 | EA | 191.08 | 1146.48 | 562 | 3372 | 753.08 | 4518.48
77 | P-3.0 | P-3.0 |  | WH1 - Tankless Water Heater, BTU/HR: 199900, Manufacturer: Rheem | 1 | 0% | 1 | EA | 510 | 510 | 1500 | 1500 | 2010 | 2010
VALVES
78 | P-2.1 | P-2.1 |  | 1 1/4" Dia Shut Off Valve | 3 | 0% | 3 | EA | 19.72 | 59.16 | 58 | 174 | 77.72 | 233.16
79 | P-2.1 | P-2.1 |  | 1/2" Dia Shut Off Valve | 2 | 0% | 2 | EA | 10.88 | 21.76 | 32 | 64 | 42.88 | 85.76
80 | P-2.1 | P-2.1 |  | 2 1/2" Dia Shut Off Valve | 1 | 0% | 1 | EA | 37.74 | 37.74 | 111 | 111 | 148.74 | 148.74
81 | P-2.1 | P-2.1 |  | 3/4" Dia Shut Off Valve | 2 | 0% | 2 | EA | 14.96 | 29.92 | 44 | 88 | 58.96 | 117.92
|  |  | DIV. 23 | HEAT VENTILATION & AIR CONDITIONING | [10 empty] | 26143.832
|  |  |  | MECHANICAL DUCTS |  | ALL DUCTS ARE STEEL GALVANIZED
82 | M-2.0 | M-2.0 |  | 6" Dia Mechanical Duct | 20.47 | 10% | 22.517 | LF | 4.62 | 104.0285 | 6.38 | 143.6585 | 11 | 247.687
83 | M-2.0 | M-2.0 |  | 7" Dia Mechanical Duct | 1.99 | 10% | 2.189 | LF | 5.46 | 11.9519 | 7.54 | 16.5051 | 13 | 28.457
84 | M-2.0 | M-2.0 |  | 8" Dia Mechanical Duct | 105.72 | 10% | 116.292 | LF | 6.3 | 732.6396 | 8.7 | 1011.7404 | 15 | 1744.38
85 | M-2.0 | M-2.0 |  | 9" Dia Mechanical Duct | 21.85 | 10% | 24.035 | LF | 7.14 | 171.6099 | 9.86 | 236.9851 | 17 | 408.595
86 | M-2.0 | M-2.0 |  | 10" Dia Mechanical Duct | 25.43 | 10% | 27.973 | LF | 7.98 | 223.2245 | 11.02 | 308.2625 | 19 | 531.487
87 | M-2.0 | M-2.0 |  | 12" Dia Mechanical Duct | 66.41 | 10% | 73.051 | LF | 9.24 | 674.9912 | 12.76 | 932.1308 | 22 | 1607.122
88 | M-2.0 | M-2.0 |  | 14" Dia Mechanical Duct | 28.3 | 10% | 31.13 | LF | 10.5 | 326.865 | 14.5 | 451.385 | 25 | 778.25
89 | M-2.0 | M-2.0 |  | 18" Dia Mechanical Duct | 1.42 | 10% | 1.562 | LF | 11.76 | 18.3691 | 16.24 | 25.3669 | 28 | 43.736
90 | M-2.0 | M-2.0 |  | 20" Dia Mechanical Duct | 14.44 | 10% | 15.884 | LF | 13.44 | 213.481 | 18.56 | 294.807 | 32 | 508.288
91 | M-2.0 | M-2.0,M1.1 |  | 4" Dia Duct - 3'-0" LF | 3 | 10% | 3.3 | LF | 3.78 | 12.474 | 5.22 | 17.226 | 9 | 29.7
92 | M-2.0 | M-2.0,M1.1 |  | 4" Dia Duct Up Through Roof | 30 | 10% | 33 | LF | 3.78 | 124.74 | 5.22 | 172.26 | 9 | 297
93 | M-2.0 | M-2.0,M1.1 |  | 6" Dia Duct Up Through Roof | 40 | 10% | 44 | LF | 4.62 | 203.28 | 6.38 | 280.72 | 11 | 484
DUCTS BENDS / FITTINGS
94 | M-2.0 | M-2.0 |  | 6" Dia 45 Degree Bend | 2 | 0% | 2 | EA | 9.75 | 19.5 | 15 | 30 | 24.75 | 49.5
95 | M-2.0 | M-2.0 |  | 8" Dia 45 Degree Bend | 17 | 0% | 17 | EA | 13 | 221 | 20 | 340 | 33 | 561
96 | M-2.0 | M-2.0 |  | 9" Dia 45 Degree Bend | 2 | 0% | 2 | EA | 14.3 | 28.6 | 22 | 44 | 36.3 | 72.6
97 | M-2.0 | M-2.0 |  | 12" Dia 45 Degree Bend | 2 | 0% | 2 | EA | 19.5 | 39 | 30 | 60 | 49.5 | 99
98 | M-2.0 | M-2.0 |  | 10" Dia 45 Degree Bend | 1 | 0% | 1 | EA | 16.25 | 16.25 | 25 | 25 | 41.25 | 41.25
99 | M-2.0 | M-2.0 |  | 14" Dia 45 Degree Bend | 4 | 0% | 4 | EA | 22.1 | 88.4 | 34 | 136 | 56.1 | 224.4
100 | M-2.0 | M-2.0 |  | 9" Dia To 8" Transition Wye | 1 | 0% | 1 | EA | 16.9 | 16.9 | 26 | 26 | 42.9 | 42.9
101 | M-2.0 | M-2.0 |  | 10" Dia To 7" & 9" Transition Wye | 1 | 0% | 1 | EA | 19.5 | 19.5 | 30 | 30 | 49.5 | 49.5
102 | M-2.0 | M-2.0 |  | 12" Dia To 6" Transition Wye | 2 | 0% | 2 | EA | 22.75 | 45.5 | 35 | 70 | 57.75 | 115.5
103 | M-2.0 | M-2.0 |  | 12" Dia To 8" & 10" Transition Wye | 1 | 0% | 1 | EA | 22.75 | 22.75 | 35 | 35 | 57.75 | 57.75
104 | M-2.0 | M-2.0 |  | 12" Dia To 8" Transition Wye | 1 | 0% | 1 | EA | 22.75 | 22.75 | 35 | 35 | 57.75 | 57.75
105 | M-2.0 | M-2.0 |  | 14" Dia To 8" & 12" Transition Wye | 1 | 0% | 1 | EA | 24.7 | 24.7 | 38 | 38 | 62.7 | 62.7
106 | M-2.0 | M-2.0 |  | 14" Dia To 8" Transition Wye | 4 | 0% | 4 | EA | 24.7 | 98.8 | 38 | 152 | 62.7 | 250.8
107 | M-2.0 | M-2.0 |  | 14" Dia To 12" Transition Wye | 1 | 0% | 1 | EA | 24.7 | 24.7 | 38 | 38 | 62.7 | 62.7
HVAC FIXTURES / EQUIPMENTS
108 | M-2.0 | M-2.0,M1.1 |  | CS3 - (10"x6") Vent, CFM: 53, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 15.12 | 15.12 | 36 | 36 | 51.12 | 51.12
109 | M-2.0 | M-2.0,M1.1 |  | CS3 - (10"x6") Vent, CFM: 72, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 19.32 | 19.32 | 46 | 46 | 65.32 | 65.32
110 | M-2.0 | M-2.0,M1.1 |  | CS3 - (10"x8") Vent, CFM: 72, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 21.84 | 21.84 | 52 | 52 | 73.84 | 73.84
111 | M-2.0 | M-2.0,M1.1 |  | CS3 - (12"x8") Vent, CFM: 100, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 15.96 | 15.96 | 38 | 38 | 53.96 | 53.96
112 | M-2.0 | M-2.0,M1.1 |  | CS3 - (12"x8") Vent, CFM: 148, Manufacturer: Shoe Maker | 2 | 0% | 2 | EA | 22.26 | 44.52 | 53 | 106 | 75.26 | 150.52
113 | M-2.0 | M-2.0,M1.1 |  | CS3 - (12"x8") Vent, CFM: 167, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 26.04 | 26.04 | 62 | 62 | 88.04 | 88.04
114 | M-2.0 | M-2.0,M1.1 |  | CS3 - (12"x8") Vent, CFM: 171, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 27.3 | 27.3 | 65 | 65 | 92.3 | 92.3
115 | M-2.0 | M-2.0,M1.1 |  | CS3 - (12"x8") Vent, CFM: 179, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 30.24 | 30.24 | 72 | 72 | 102.24 | 102.24
116 | M-2.0 | M-2.0,M1.1 |  | CS3 - (14"x8") Vent, CFM: 208, Manufacturer: Shoe Maker | 5 | 0% | 5 | EA | 31.5 | 157.5 | 75 | 375 | 106.5 | 532.5
117 | M-2.0 | M-2.0,M1.1 |  | CS3 - (14"x8") Vent, CFM: 210, Manufacturer: Shoe Maker | 2 | 0% | 2 | EA | 35.7 | 71.4 | 85 | 170 | 120.7 | 241.4
118 | M-2.0 | M-2.0,M1.1 |  | CS3 - (14"x8") Vent, CFM: 232, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 41.16 | 41.16 | 98 | 98 | 139.16 | 139.16
119 | M-2.0 | M-2.0,M1.1 |  | CS3 - (14"x8") Vent, CFM: 296, Manufacturer: Shoe Maker | 1 | 0% | 1 | EA | 49.56 | 49.56 | 118 | 118 | 167.56 | 167.56
120 | M-2.0 | M-2.0,M1.1 |  | EF(B) - Exhaust Fan, CFM: 84, Manufacturer: Airing | 1 | 0% | 1 | EA | 61.32 | 61.32 | 146 | 146 | 207.32 | 207.32
121 | M-2.0 | M-2.0,M1.1 |  | EF(L) - Exhaust Fan, CFM: 116, Manufacturer: Airing | 1 | 0% | 1 | EA | 69.3 | 69.3 | 165 | 165 | 234.3 | 234.3
122 | M-2.0 | M-2.0,M1.1 |  | EF(MB) - Exhaust Fan, CFM: 113, Manufacturer: Airing | 1 | 0% | 1 | EA | 65.1 | 65.1 | 155 | 155 | 220.1 | 220.1
123 | M-2.0 | M-2.0,M1.1 |  | EF(R) - Exhaust Fan, CFM: 63, Manufacturer: Airing | 2 | 0% | 2 | EA | 42 | 84 | 100 | 200 | 142 | 284
124 | M-2.0 | M-2.0,M1.1 |  | HP(36) - Split System Outdoor Heat Pump Condensing Unit, Heating Capacity: 35000 BTU/Hr, Operating Weight: 215 LBs, Manufacturer: Carrier | 1 | 0% | 1 | EA | 1533 | 1533 | 3650 | 3650 | 5183 | 5183
125 | M-2.0 | M-2.0,M1.1 |  | HP(48) - Split System Outdoor Heat Pump Condensing Unit, Heating Capacity: 46500 BTU/Hr, Operating Weight: 238 LBs, Manufacturer: Carrier | 1 | 0% | 1 | EA | 1623.3 | 1623.3 | 3865 | 3865 | 5488.3 | 5488.3
126 | M-2.0 | M-2.0,M1.1 |  | RAG - (18"x30" ) Return Air Grill | 2 | 0% | 2 | EA | 65.1 | 130.2 | 155 | 310 | 220.1 | 440.2
127 | M-2.0 | M-2.0,M1.1 |  | Thermostat | 2 | 0% | 2 | EA | 39.2 | 78.4 | 100.8 | 201.6 | 140 | 280
128 | M-2.0 | M-2.0,M1.1 |  | FC(48) - Split System Indoor Ceiling Fan Coil Unit, CFM: 1600, Manufacturer: Carrier | 1 | 0% | 1 | EA | 579.6 | 579.6 | 1380 | 1380 | 1959.6 | 1959.6
129 | M-2.0 | M-2.0,M1.1 |  | FC(36) - Split System Indoor Ceiling Fan Coil Unit, CFM: 1200, Manufacturer: Carrier | 1 | 0% | 1 | EA | 483 | 483 | 1150 | 1150 | 1633 | 1633
|  |  | DIV. 26 | ELECTRICAL | [10 empty] | 43935.68
POWER FIXTURE
130 | E2.0 | E2.0,E1.0 |  | Duplex Receptacle | 60 | 0% | 60 | EA | 18.2 | 1092 | 46.8 | 2808 | 65 | 3900
131 | E2.0 | E2.0,E1.0 |  | Duplex Receptacle - Ground Fault Interrupter | 26 | 0% | 26 | EA | 33.6 | 873.6 | 86.4 | 2246.4 | 120 | 3120
132 | E2.0 | E2.0,E1.0 |  | Duplex Receptacle - Ground Fault Interrupter (Weatherproof) | 14 | 0% | 14 | EA | 39.2 | 548.8 | 100.8 | 1411.2 | 140 | 1960
133 | E2.0 | E2.0,E1.0 |  | Triplex Receptacle - Ground Fault Interrupter, Voltages: 240V | 1 | 0% | 1 | EA | 50.4 | 50.4 | 129.6 | 129.6 | 180 | 180
134 | E2.0 | E2.0,E1.0 |  | Triplex Receptacle - Voltages: 240V | 2 | 0% | 2 | EA | 44.8 | 89.6 | 115.2 | 230.4 | 160 | 320
135 | E2.0 | E2.0,E1.0 |  | USB Charger Receptacle | 11 | 0% | 11 | EA | 28 | 308 | 72 | 792 | 100 | 1100
136 | E2.0 | E2.0,E1.0 |  | Cat 5 Jada Jack | 12 | 0% | 12 | EA | 7.04 | 84.48 | 22 | 264 | 29.04 | 348.48
136 | E2.0 | E2.0,E1.0 |  | Junction Box | 17 | 0% | 17 | EA | 56 | 952 | 144 | 2448 | 200 | 3400
137 | E2.0 | E2.0,E1.0 |  | Smoke Detector | 5 | 0% | 5 | EA | 42 | 210 | 108 | 540 | 150 | 750
138 | E2.0 | E2.0,E1.0 |  | Vacancy Sensor | 7 | 0% | 7 | EA | 16 | 112 | 50 | 350 | 66 | 462
139 | E2.0 | E2.0,E1.0 |  | Carbon Monoxide Alarm | 1 | 0% | 1 | EA | 84 | 84 | 116 | 116 | 200 | 200
LIGHTING FIXTRE
140 | E2.0 | E2.0,E1.0 |  | (1'-0"x4'-0") LED Light Strip | 7 | 0% | 7 | EA | 22.08 | 154.56 | 69 | 483 | 91.08 | 637.56
141 | E2.0 | E2.0,E1.0 |  | (2'-0"x4'-0") LED Light Strip | 2 | 0% | 2 | EA | 28.16 | 56.32 | 88 | 176 | 116.16 | 232.32
142 | E2.0 | E2.0,E1.0 |  | Ceiling Mounted Pendant Light Fixture | 6 | 0% | 6 | EA | 144 | 864 | 450 | 2700 | 594 | 3564
143 | E2.0 | E2.0,E1.0 |  | High efficacy Recessed Lighting Fixture | 71 | 0% | 71 | EA | 38.4 | 2726.4 | 120 | 8520 | 158.4 | 11246.4
144 | E2.0 | E2.0,E1.0 |  | High efficacy Wall Mounted Lighting Fixture | 11 | 0% | 11 | EA | 38.4 | 422.4 | 120 | 1320 | 158.4 | 1742.4
SWITCHES
145 | E2.0 | E2.0,E1.0 |  | Single Pole Switch | 10 | 0% | 10 | EA | 7.04 | 70.4 | 22 | 220 | 29.04 | 290.4
146 | E2.0 | E2.0,E1.0 |  | Three Pole Switch | 2 | 0% | 2 | EA | 11.2 | 22.4 | 35 | 70 | 46.2 | 92.4
147 | E2.0 | E2.0,E1.0 |  | Dimmer Switch | 52 | 0% | 52 | EA | 7.68 | 399.36 | 24 | 1248 | 31.68 | 1647.36
148 | E2.0 | E2.0,E1.0 |  | Motor Rated Switch, Ampere: 15A, Phase: 1PH | 8 | 0% | 8 | EA | 8 | 64 | 25 | 200 | 33 | 264
ELECTRICAL EQUIPMENTS
149 | E2.0 | E2.0,E1.0 |  | Electrical Meter - Ampere: 400A, Voltages: 120/240V w/ 42KAIC Circuit Breaker | 1 | 0% | 1 | EA | 461.12 | 461.12 | 1441 | 1441 | 1902.12 | 1902.12
CIRCUIT BREAKER
150 | E1.1 | E1.1 |  | Circuit Breaker - Ampere: 100A, Phase: 2PH | 2 | 0% | 2 | EA | 77.44 | 154.88 | 242 | 484 | 319.44 | 638.88
151 | E1.1 | E1.1 |  | Fused Disconnect, Ampere: 30A, Phase: 2PH | 1 | 0% | 1 | EA | 54.4 | 54.4 | 170 | 170 | 224.4 | 224.4
152 | E1.1 | E1.1 |  | Fused Disconnect, Ampere: 40A, Phase: 2PH | 1 | 0% | 1 | EA | 64 | 64 | 200 | 200 | 264 | 264
153 | E1.1 | E1.1 |  | UGPS - Ampere: 400A | 1 | 0% | 1 | EA | 328.96 | 328.96 | 1028 | 1028 | 1356.96 | 1356.96
ELECTRICAL PANEL
154 | E1.1 | E1.1 |  | Panel "P" - Voltages: 120/240V, Watts: 3W, Phase: 1PH, Ampere: 400A | 1 | 0% | 1 | EA | 640 | 640 | 2000 | 2000 | 2640 | 2640
155 | E1.1 | E1.1 |  | Panel "P1" - Voltages: 120/240V, Watts: 3W, Phase: 1PH, Ampere: 100A | 1 | 0% | 1 | EA | 176 | 176 | 550 | 550 | 726 | 726
156 | E1.1 | E1.1 |  | Panel "POOL" - Voltages: 120/240V, Watts: 3W, Phase: 1PH, Ampere: 100A | 1 | 0% | 1 | EA | 176 | 176 | 550 | 550 | 726 | 726
SUB TOTAL | [13 empty] | 197718.2134 | 197718.2134
OVERHEAD & PROFIT (25%) | [12 empty] | 25% | 49429.5534 | 49429.5534
TOTAL BID | [13 empty] | 247147.7668 | 247147.7668